## log
index | analysis_date | description | data_identifier | replicate_no | integration_time_s | dilution | RSU_area_1s | run_type | collect_date | DOC_mg_L | Notes | Sample_ml | MQ_ml
1 | 2024-06-15 | preT15Jun24 | preT15Jun241s | 1 | 1 | 1 | 3051 | manual |  | 1 |  | 3
2 | 2024-06-15 | TMPES611L | TMPES611L2s | 1 | 2 | 1 | 3051 | manual |  | 5.054 |  | 3
3 | 2024-06-15 | TMPES611H | TMPES611H2s | 1 | 2 | 1 | 3051 | manual |  | 4.621 |  | 3
4 | 2024-06-15 | SSW611MO | SSW611MO2s | 1 | 2 | 1 | 3051 | manual |  | 4.668 |  | 3
5 | 2024-06-15 | SSW611MI | SSW611MI2s | 1 | 2 | 1 | 3051 | manual |  | 4.873 |  | 3
6 | 2024-06-15 | SSW611AF | SSW611AF2s | 1 | 2 | 1 | 3051 | manual |  | 5.117 |  | 3
7 | 2024-06-15 | PSW611B4T1 | PSW611B4T14s | 2 | 4 | 0.26667 | 3051 | manual |  | 19.21 |  | 0.8
8 | 2024-06-15 | SFW611MO | SFW611MO4s | 1 | 4 | 1 | 3051 | manual |  | 0.8408 |  | 3
9 | 2024-06-15 | SFW611MI | SFW611MI4s | 1 | 4 | 1 | 3051 | manual |  | 0.7946 |  | 3
10 | 2024-06-15 | SFW611AF | SFW611AF4s | 1 | 4 | 1 | 3051 | manual |  | 0.7258 |  | 3
11 | 2024-06-15 | PFW611C3T1 | PFW611C3T12s | 1 | 2 | 1 | 3051 | manual |  | 5.329 |  | 3
12 | 2024-06-15 | PFW611C6T1 | PFW611C6T12s | 1 | 2 | 1 | 3051 | manual |  | 4.18 |  | 3
13 | 2024-06-15 | PFW611D5T1 | PFW611D5T12s | 1 | 2 | 1 | 3051 | manual |  | 5.84 |  | 3
14 | 2024-06-15 | PFW611F4T1 | PFW611F4T11s | 1 | 1 | 1 | 3051 | manual |  | 7.564 |  | 3
15 | 2024-06-15 | PFW611I5T1 | PFW611I5T11s | 1 | 1 | 1 | 3051 | manual |  | 7.35 |  | 3
16 | 2024-06-15 | TMPES612L | TMPES612L2s | 1 | 2 | 1 | 3051 | manual |  | 5.53 |  | 3
17 | 2024-06-15 | TMPES612H | TMPES612H2s | 1 | 2 | 1 | 3051 | manual |  | 4.642 |  | 3
18 | 2024-06-15 | SSW612MO | SSW612MO2s | 1 | 2 | 1 | 3051 | manual |  | 5.09 |  | 3
19 | 2024-06-15 | SSW612MI | SSW612MI2s | 1 | 2 | 1 | 3051 | manual |  | 4.955 |  | 3
20 | 2024-06-15 | SSW612AF | SSW612AF2s | 1 | 2 | 1 | 3051 | manual |  | 4.966 |  | 3
21 | 2024-06-16 | preT16Jun24 | preT16Jun241s | 1 | 1 | 1 | 3069 | manual |  | 1 |  | 3
22 | 2024-06-16 | PSW612B4T3 | PSW612B4T32s | 1 | 2 | 1 | 3069 | manual |  | 4.718 |  | 3
23 | 2024-06-16 | PSW612C3T2 | PSW612C3T21s | 1 | 1 | 0.66667 | 3069 | manual |  | 12.85 |  | 2
24 | 2024-06-16 | PSW612C3T3 | PSW612C3T32s | 1 | 2 | 1 | 3069 | manual |  | 5.273 |  | 3
25 | 2024-06-15 | SFW612MO | SFW612MO4s | 1 | 4 | 1 | 3051 | manual |  | 0.7821 |  | 3
26 | 2024-06-15 | SFW612MI | SFW612MI4s | 1 | 4 | 1 | 3051 | manual |  | 0.5653 |  | 3
27 | 2024-06-15 | SFW612AF | SFW612AF4s | 1 | 4 | 1 | 3051 | manual |  | 0.7364 |  | 3
28 | 2024-06-15 | pstT15Jun24 | pstT15Jun241s | 1 | 1 | 1 | 3051 | manual |  | 1 |  | 3
29 | 2024-06-16 | PFW612C3T2 | PFW612C3T22s | 1 | 2 | 1 | 3069 | manual |  | 5.141 |  | 3
30 | 2024-06-16 | PFW612C3T3 | PFW612C3T32s | 1 | 2 | 1 | 3069 | manual |  | 4.601 |  | 3
31 | 2024-06-16 | PFW612C6T3 | PFW612C6T32s | 1 | 2 | 1 | 3069 | manual |  | 4.642 |  | 3
32 | 2024-06-16 | PFW612D5T2 | PFW612D5T22s | 1 | 2 | 1 | 3069 | manual |  | 5.492 |  | 3
33 | 2024-06-16 | PFW612D5T3 | PFW612D5T32s | 1 | 2 | 1 | 3069 | manual |  | 4.016 |  | 3
34 | 2024-06-16 | PFW612F4T2 | PFW612F4T21s | 1 | 1 | 1 | 3069 | manual |  | 7.021 |  | 3
35 | 2024-06-16 | PFW612F4T3 | PFW612F4T31s | 1 | 1 | 1 | 3069 | manual |  | 6.914 |  | 3
36 | 2024-06-16 | PFW612I5T2 | PFW612I5T22s | 1 | 2 | 1 | 3069 | manual |  | 6.318 |  | 3
37 | 2024-06-16 | PFW612I5T3 | PFW612I5T32s | 1 | 2 | 1 | 3069 | manual |  | 4.855 |  | 3
38 | 2024-06-20 | TMPES613L | TMPES613L2s | 1 | 2 | 1 | 3024.4497 | manual |  | 5.328 |  | 3
39 | 2024-06-20 | TMPES613H | TMPES613H2s | 1 | 2 | 1 | 3024.4497 | manual |  | 4.738 |  | 3
40 | 2024-06-20 | SSW613MO | SSW613MO2s | 1 | 2 | 1 | 3024.4497 | manual |  | 4.992 |  | 3
41 | 2024-06-20 | SSW613MI | SSW613MI2s | 1 | 2 | 1 | 3024.4497 | manual |  | 5.133 |  | 3
42 | 2024-06-20 | SSW613AF | SSW613AF2s | 1 | 2 | 1 | 3024.4497 | manual |  | 5.745 |  | 3
43 | 2024-06-20 | SFW613MO | SFW613MO4s | 1 | 4 | 1 | 3024.4497 | manual |  | 0.8965 |  | 3
44 | 2024-06-20 | SFW613MI | SFW613MI4s | 1 | 4 | 1 | 3024.4497 | manual |  | 0.6947 |  | 3
45 | 2024-06-20 | SFW613AF | SFW613AF4s | 1 | 4 | 1 | 3024.4497 | manual |  | 0.6873 |  | 3
46 | 2024-06-20 | PSW613B4T4 | PSW613B4T42s | 1 | 2 | 1 | 3024.4497 | manual |  | 5.343 |  | 3
47 | 2024-06-20 | PSW613B4T5 | PSW613B4T52s | 1 | 2 | 1 | 3024.4497 | manual |  | 5.297 |  | 3
48 | 2024-06-20 | PSW613C3T4 | PSW613C3T42s | 1 | 2 | 1 | 3024.4497 | manual |  | 5.849 |  | 3
49 | 2024-06-20 | PSW613C3T5 | PSW613C3T52s | 2 | 2 | 1 | 3024.4497 | manual |  | 5.799 | mis-named on Aqualog as B4 - SHOULD BE C3 | 3
50 | 2024-06-20 | PSW613F6T4 | PSW613F6T44s | 1 | 2 | 1 | 3024.4497 | manual |  | 3.641 |  | 3
51 | 2024-06-20 | PSW613F6T5 | PSW613F6T54s | 1 | 2 | 1 | 3024.4497 | manual |  | 3.641 | DOC is not accurate | 3
52 | 2024-06-20 | PFW613C3T4 | PFW613C3T42s | 1 | 2 | 1 | 3024.4497 | manual |  | 4.385 | DOC is not accurate | 3
53 | 2024-06-20 | PFW613C3T5 | PFW613C3T52s | 1 | 2 | 1 | 3024.4497 | manual |  | 4.385 |  | 3
54 | 2024-06-20 | PFW613C6T4 | PFW613C6T42s | 1 | 2 | 1 | 3024.4497 | manual |  | 4.613 |  | 3
55 | 2024-06-20 | PFW613C6T5 | PFW613C6T52s | 1 | 2 | 1 | 3024.4497 | manual |  | 3.634 |  | 3
56 | 2024-06-20 | PFW613D5T4 | PFW613D5T42s | 1 | 2 | 1 | 3024.4497 | manual |  | 6.602 |  | 3
57 | 2024-06-20 | pstT20Jun24 | pstT20Jun241s | 1 | 1 | 1 | 3024.4497 | manual |  | 1 |  | 3
58 | 2024-06-21 | preT21Jun24 | preT21Jun241s | 1 | 1 | 1 | 3007.3128 | manual |  | 1 |  | 3
59 | 2024-06-21 | PFW613D5T5 | PFW613D5T5 | 1 | 2 | 1 | 3007.3128 | manual |  | 6.34 | not analyzed? Recorded in the lab notebook, but I can't find its data files anywhere. Xia analyzed this. | 3
60 | 2024-06-21 | PFW613E3T4 | PFW613E3T41s | 1 | 1 | 1 | 3007.3128 | manual |  | 7.743 |  | 3
61 | 2024-06-21 | PFW613F4T4 | PFW613F4T42s | 1 | 2 | 1 | 3007.3128 | manual |  | 6.7 | mis-named on Aqualog as PSW - SHOULD BE PFW | 3
62 | 2024-06-21 | PFW613F4T5 | PFW613F4T52s | 1 | 2 | 1 | 3007.3128 | manual |  | 5.846 | mis-named on Aqualog as PSW - SHOULD BE PFW | 3
63 | 2024-06-21 | PFW613H3T5 | PFW613H3T52s | 1 | 2 | 1 | 3007.3128 | manual |  | 4.532 |  | 3
64 | 2024-06-21 | PFW613I5T4 | PFW613I5T42s | 1 | 2 | 1 | 3007.3128 | manual |  | 5.909 |  | 3
65 | 2024-06-21 | PFW613I5T5 | PFW613I5T52s | 1 | 2 | 1 | 3007.3128 | manual |  | 5.037 |  | 3
66 | 2024-06-21 | PSW614B4T6 | PSW614B4T62s | 1 | 2 | 1 | 3007.3128 | manual |  | 5.398 |  | 3
67 | 2024-06-21 | PSW614C3T6 | PSW614C3T62s | 1 | 2 | 1 | 3007.3128 | manual |  | 5.674 |  | 3
68 | 2024-06-21 | PSW614F6T6 | PSW614F6T64s | 1 | 4 | 1 | 3007.3128 | manual |  | 4.04 |  | 3
69 | 2024-06-21 | PFW614C3T6 | PFW614C3T62s | 1 | 2 | 1 | 3007.3128 | manual |  | 4.841 |  | 3
70 | 2024-06-21 | PFW614C6T6 | PFW614C6T62s | 1 | 2 | 1 | 3007.3128 | manual |  | 4.284 |  | 3
71 | 2024-06-21 | PFW614D5T6 | PFW614D5T62s | 1 | 2 | 1 | 3007.3128 | manual |  | 6.521 |  | 3
72 | 2024-06-21 | PFW614F4T6 | PFW614F4T62s | 1 | 2 | 1 | 3007.3128 | manual |  | 5.791 |  | 3
73 | 2024-06-21 | PFW614H3T6 | PFW614H3T62s | 1 | 2 | 1 | 3007.3128 | manual |  | 4.228 |  | 3
74 | 2024-06-21 | PFW614I5T6 | PFW614I5T62s | 1 | 2 | 1 | 3007.3128 | manual |  | 6.165 |  | 3
75 | 2024-06-21 | PSW617B4 | PSW617B44s | 1 | 4 | 1 | 3007.3128 | manual |  | 5.447 |  | 3
76 | 2024-06-21 | PSW617C3 | PSW617C32s | 1 | 2 | 1 | 3007.3128 | manual |  | 7.377 |  | 3
77 | 2024-06-21 | PSW617F6 | PSW617F64s | 1 | 4 | 1 | 3007.3128 | manual |  | 4.416 |  | 3
78 | 2024-06-21 | PFW617C6 | PFW617C62s | 1 | 2 | 1 | 3007.3128 | manual |  | 5.757 |  | 3
79 | 2024-06-21 | PFW617D5 | PFW617D52s | 1 | 2 | 1 | 3007.3128 | manual |  | 6.783 |  | 3
80 | 2024-06-21 | PFW617F4 | PFW617F41s | 1 | 1 | 1 | 3007.3128 | manual |  | 8.772 |  | 3
81 | 2024-06-21 | PFW617I5 | PFW617I51s | 1 | 1 | 1 | 3007.3128 | manual |  | 8.705 |  | 3
82 | 2024-06-21 | pstT21Jun24 | pstT21Jun241s | 1 | 1 | 1 | 3007.3128 | manual |  | 1 |  | 3
83 | 2024-08-13 | preT13Aug24 | preT13Aug241s | 1 | 1 | 1 | 3142 | manual |  | 1 |  | 3
84 | 2024-08-13 | PCL607H3 | PCL607H32s | 1 | 2 | 0.4 | 3142 | manual |  | 18.52 |  | 1.2
85 | 2024-08-13 | PFW607C6 | PFW607C62s | 1 | 2 | 1 | 3142 | manual |  | 8.779 |  | 3
86 | 2024-08-13 | PFW607I5 | PFW607I52s | 1 | 2 | 0.66667 | 3142 | manual |  | 12.6 |  | 2
87 | 2024-08-13 | PSW802C3 | PSW802C32s | 1 | 2 | 1 | 3142 | manual |  | 8.801 |  | 3
88 | 2024-08-13 | PSW805B4 | PSW805B42s | 1 | 2 | 1 | 3142 | manual |  | 10.8 |  | 3
89 | 2024-08-13 | PSW805C3 | PSW805C32s | 1 | 2 | 1 | 3142 | manual |  | 9.924 |  | 3
90 | 2024-08-13 | PSW805D5 | PSW805D52s | 1 | 2 | 1 | 3142 | manual |  | 6.315 |  | 3
91 | 2024-08-13 | PSW805F6 | PSW805F62s | 1 | 2 | 1 | 3142 | manual |  | 4.719 | DOC is not accurate | 3
92 | 2024-08-13 | PSW808D5 | PSW808D52s | 1 | 2 | 1 | 3142 | manual |  | 6.315 | DOC is not accurate | 3
93 | 2024-08-13 | PSW808H3 | PSW808H32s | 1 | 2 | 1 | 3142 | manual |  | 6.53 |  | 3
94 | 2024-08-13 | PSW808H6 | PSW808H62s | 2 | 2 | 1 | 3142 | manual |  | 9.555 | mis-named on Aqualog as H43 (02) - should be H6 | 3
95 | 2024-08-13 | PSW808I5 | PSW808I51s | 1 | 1 | 1 | 3142 | manual |  | 11.67 |  | 3
96 | 2024-08-13 | PSW802F6 | PSW802F64s | 1 | 4 | 1 | 3142 | manual |  | 4.719 |  | 3
97 | 2024-08-13 | pstT13Aug24 | pstT13Aug241s | 1 | 1 | 1 | 3142 | manual |  | 1 |  | 3
98 | 2024-09-17 | preT240917 | preT2409171s | 1 | 1 | 1 | 3008 | manual |  | 1 |  | 3
99 | 2024-09-17 | PSW906C3 | PSW906C32s | 1 | 2 | 1 | 3008 | manual |  | 9.329 |  | 3
100 | 2024-09-17 | PSW906F6 | PSW906F62s | 1 | 2 | 1 | 3008 | manual |  | 6.013 |  | 3
101 | 2024-09-17 | PSW906D5 | PSW906D52s | 2 | 2 | 1 | 3008 | manual |  | 5.781 |  | 3
102 | 2024-09-17 | pstT240917 | pstT2409171s | 1 | 1 | 1 | 3008 | manual |  | 1 |  | 3
103 | 2024-10-10 | preT10Oct24 | preT10Oct241s | 1 | 1 | 1 | 2913 | manual |  | 1 |  | 3
104 | 2024-10-10 | PSW1003C3 | PSW1003C32s | 1 | 2 | 0.63333 | 2913 | manual |  | 31.81 |  | 1.9
105 | 2024-10-10 | PSW1007C6 | PSW1007C62s | 1 | 2 | 0.66667 | 2913 | manual |  | 29.69 |  | 2
106 | 2024-10-10 | PSW1003D5 | PSW1003D52s | 1 | 2 | 1 | 2913 | manual |  | 15.02 |  | 3
107 | 2024-10-10 | PSW1003E3 | PSW1003E32s | 1 | 2 | 1 | 2913 | manual |  | 11.55 |  | 3
108 | 2024-10-10 | PSW1003F4 | PSW1003F42s | 1 | 2 | 1 | 2913 | manual |  | 8.778 |  | 3
109 | 2024-10-10 | PSW1003F6 | PSW1003F62s | 1 | 2 | 1 | 2913 | manual |  | 11.84 |  | 3
110 | 2024-10-10 | PSW1003H3 | PSW1003H32s | 1 | 2 | 0.83333 | 2913 | manual |  | 21.63 |  | 2.5
111 | 2024-10-10 | PSW1003H6 | PSW1003H64s | 1 | 4 | 0.16667 | 2913 | manual |  | 70.1 |  | 0.5
112 | 2024-10-10 | pstT10Oct24 | pstT10Oct241s | 1 | 1 | 1 | 2913 | manual |  | 1 |  | 3
113 | 2024-12-18 | preT18Dec24 | preT18Dec241s | 1 | 1 | 1 | 2492.8998 | manual |  | 1 |  | 3
114 | 2024-12-18 | PCT1213C6 | PCT1213C61s | 1 | 1 | 0.5 | 2492.8998 | manual |  | 23.06 |  | 1.5
115 | 2024-12-18 | PCT1213D5 | PCT1213D52s | 1 | 2 | 0.5 | 2492.8998 | manual |  | 21.69 |  | 1.5
116 | 2024-12-18 | PCT1213F6 | PCT1213F62s | 1 | 2 | 0.33333 | 2492.8998 | manual |  | 30.31 |  | 1
117 | 2024-12-18 | PCT1213I5 | PCT1213I52s | 1 | 2 | 0.33333 | 2492.8998 | manual |  | 18.69 |  | 1
118 | 2024-12-18 | PFW1213C3 | PFW1213C32s | 1 | 2 | 0.26667 | 2492.8998 | manual |  | 31.91 |  | 0.8
119 | 2024-12-18 | PFW1213D5 | PFW1213D52s | 1 | 2 | 0.33333 | 2492.8998 | manual |  | 27.75 |  | 1
120 | 2024-12-18 | PFW1213F4 | PFW1213F42s | 1 | 2 | 0.23333 | 2492.8998 | manual |  | 38.88 |  | 0.7
121 | 2024-12-18 | PFW1213F6 | PFW1213F62s | 1 | 2 | 0.33333 | 2492.8998 | manual |  | 28.01 |  | 1
122 | 2024-12-18 | PFW1213H3 | PFW1213H32s | 1 | 2 | 0.33333 | 2492.8998 | manual |  | 11.21 |  | 1
123 | 2024-12-18 | PFW1213I5 | PFW1213I51s | 1 | 1 | 0.33333 | 2492.8998 | manual |  | 26.17 |  | 1
124 | 2024-12-18 | PSW1213B4 | PSW1213B42s | 1 | 2 | 0.33333 | 2492.8998 | manual |  | 20.35 |  | 1
125 | 2024-12-18 | PSW1213C3 | PSW1213C32s | 1 | 2 | 0.66667 | 2492.8998 | manual |  | 14.9 |  | 2
126 | 2024-12-18 | PSW1213D5 | PSW1213D52s | 1 | 2 | 0.5 | 2492.8998 | manual |  | 16.49 |  | 1.5
127 | 2024-12-18 | PSW1213F4 | PSW1213F42s | 1 | 2 | 1 | 2492.8998 | manual |  | 6.668 | mislabeled at SERC as F4, actual grid is F6 | 3
128 | 2024-12-18 | PSW1213H6 | PSW1213H62s | 1 | 2 | 0.26667 | 2492.8998 | manual |  | 26.37 |  | 0.8
129 | 2024-12-18 | PSW1213I5 | PSW1213I51s | 1 | 1 | 1 | 2492.8998 | manual |  | 12.62 |  | 3
130 | 2024-12-18 | pstT18Dec24 | pstT18Dec241s | 1 | 1 | 1 | 2492.8998 | manual |  | 1 |  | 3
131 | 2025-02-06 | preT06Feb25 | preT06Feb251s | 1 | 1 | 1 | 2449.8261 | manual |  | 1 |  | 3
132 | 2025-02-06 | PSW50131B4 | PSW50131B42s | 1 | 2 | 0.13333 | 2449.8261 | manual |  | 53.78 |  | 0.4
133 | 2025-02-06 | PSW50131C3 | PSW50131C32s | 1 | 2 | 0.13333 | 2449.8261 | manual |  | 51.3 |  | 0.4
134 | 2025-02-06 | PSW50131F4 | PSW50131F42s | 1 | 2 | 0.1 | 2449.8261 | manual |  | 60.74 |  | 0.3
135 | 2025-02-06 | PFW50131I5 | PFW50131I52s | 1 | 2 | 0.26667 | 2449.8261 | manual |  | 32.94 |  | 0.8
136 | 2025-02-06 | PCT50131C3 | PCT50131C32s | 1 | 2 | 0.23333 | 2449.8261 | manual |  | 30.54 |  | 0.7
137 | 2025-02-06 | PSW50131F6 | PSW50131F62s | 1 | 2 | 0.3 | 2449.8261 | manual |  | 30.94 |  | 0.9
138 | 2025-02-06 | PFW50131C6 | PFW50131C62s | 1 | 2 | 0.66667 | 2449.8261 | manual |  | 14.64 |  | 2
139 | 2025-02-06 | PFW50131D5 | PFW50131D52s | 1 | 2 | 0.46667 | 2449.8261 | manual |  | 21.37 |  | 1.4
140 | 2025-02-06 | PFW50131H3 | PFW50131H32s | 1 | 2 | 0.5 | 2449.8261 | manual |  | 15.27 |  | 1.5
141 | 2025-02-06 | PCT50131B4 | PCT50131B42s | 1 | 2 | 0.33333 | 2449.8261 | manual |  | 31.35 |  | 1
142 | 2025-02-06 | PCT50131E3 | PCT50131E32s | 1 | 2 | 0.33333 | 2449.8261 | manual |  | 25.9 |  | 1
143 | 2025-02-06 | PCT50131H6 | PCT50131H62s | 1 | 2 | 0.26667 | 2449.8261 | manual |  | 36.77 |  | 0.8
144 | 2025-02-06 | PCT50131I5 | PCT50131I52s | 1 | 2 | 0.6 | 2449.8261 | manual |  | 16.82 |  | 1.8
145 | 2025-02-06 | pstT06Feb25 | pstT06Feb251s | 1 | 1 | 1 | 2449.8261 | manual |  | 1 |  | 3
146 | 2025-02-10 | preT10Feb25 | preT10Feb251s | 1 | 1 | 1 | 2431.1788 | manual |  | 1 |  | 3
147 | 2025-02-10 | PCT50204B4 | PCT50204B42s | 1 | 2 | 0.33333 | 2431.1788 | manual |  | 27.65 |  | 1
148 | 2025-02-10 | PCT50204C3 | PCT50204C32s | 1 | 2 | 0.26667 | 2431.1788 | manual |  | 29.65 |  | 0.8
149 | 2025-02-10 | PCT50204C6 | PCT50204C62s | 1 | 2 | 0.26667 | 2431.1788 | manual |  | 20.61 |  | 0.8
150 | 2025-02-10 | PCT50204D5 | PCT50204D52s | 1 | 2 | 0.33333 | 2431.1788 | manual |  | 20.73 |  | 1
151 | 2025-02-10 | PCT50204E3 | PCT50204E32s | 1 | 2 | 0.26667 | 2431.1788 | manual |  | 28.82 |  | 0.8
152 | 2025-02-10 | PCT50204H3 | PCT50204H32s | 1 | 2 | 0.26667 | 2431.1788 | manual |  | 28.35 |  | 0.8
153 | 2025-02-10 | PCT50204H6 | PCT50204H62s | 1 | 2 | 0.26667 | 2431.1788 | manual |  | 34.06 |  | 0.8
154 | 2025-02-10 | PCT50204I5 | PCT50204I52s | 1 | 2 | 0.33333 | 2431.1788 | manual |  | 23.44 |  | 1
155 | 2025-02-10 | PFW50204B4 | PFW50204B42s | 1 | 2 | 0.5 | 2431.1788 | manual |  | 16.71 |  | 1.5
156 | 2025-02-10 | PFW50204C3 | PFW50204C305s | 1 | 0.5 | 0.33333 | 2431.1788 | manual |  | 22.56 |  | 1
157 | 2025-02-10 | PFW50204C6 | PFW50204C62s | 1 | 2 | 0.83333 | 2431.1788 | manual |  | 10.73 |  | 2.5
158 | 2025-02-10 | PFW50204D5 | PFW50204D52s | 1 | 2 | 0.33333 | 2431.1788 | manual |  | 21.4 |  | 1
159 | 2025-02-10 | PFW50204E3 | PFW50204E32s | 1 | 2 | 0.33333 | 2431.1788 | manual |  | 19.4 |  | 1
160 | 2025-02-10 | PFW50204F4 | PFW50204F42s | 1 | 2 | 0.33333 | 2431.1788 | manual |  | 19.47 |  | 1
161 | 2025-02-10 | PFW50204F6 | PFW50204F62s | 1 | 2 | 0.33333 | 2431.1788 | manual |  | 18.19 |  | 1
162 | 2025-02-10 | PFW50204H3 | PFW50204H32s | 1 | 2 | 0.33333 | 2431.1788 | manual |  | 15.4 |  | 1
163 | 2025-02-10 | PFW50204H6 | PFW50204H62s | 1 | 2 | 0.33333 | 2431.1788 | manual |  | 20.43 |  | 1
164 | 2025-02-10 | PFW50204I5 | PFW50204I52s | 1 | 2 | 0.3 | 2431.1788 | manual |  | 27.28 |  | 0.9
165 | 2025-02-10 | PSW50204B4 | PSW50204B42s | 1 | 2 | 0.066667 | 2431.1788 | manual |  | 69.98 |  | 0.2
166 | 2025-02-10 | PSW50204C3 | PSW50204C32s | 1 | 2 | 0.066667 | 2431.1788 | manual |  | 73.44 |  | 0.2
167 | 2025-02-10 | PSW50204C6 | PSW50204C62s | 1 | 2 | 0.1 | 2431.1788 | manual |  | 48.5 |  | 0.3
168 | 2025-02-10 | PSW50204D5 | PSW50204D52s | 1 | 2 | 0.1 | 2431.1788 | manual |  | 52.21 |  | 0.3
169 | 2025-02-10 | PSW50204E3 | PSW50204E32s | 1 | 2 | 0.1 | 2431.1788 | manual |  | 39 |  | 0.3
170 | 2025-02-10 | PSW50204F6 | PSW50204F62s | 1 | 2 | 0.1 | 2431.1788 | manual |  | 61.7 |  | 0.3
171 | 2025-02-10 | PSW50204F4 | PSW50204F42s | 1 | 2 | 0.066667 | 2431.1788 | manual |  | 68.88 |  | 0.2
172 | 2025-02-10 | PSW50204H3 | PSW50204H32s | 1 | 2 | 0.1 | 2431.1788 | manual |  | 66.28 |  | 0.3
173 | 2025-02-10 | PSW50204I5 | PSW50204I52s | 1 | 2 | 0.1 | 2431.1788 | manual |  | 61.38 |  | 0.3
174 | 2025-02-10 | PSW50204H6 | PSW50204H64s | 1 | 4 | 0.1 | 2431.1788 | manual |  | 45.74 |  | 0.3
175 | 2025-02-10 | pstT10Feb25 | pstT10Feb251s | 1 | 1 | 1 | 2431.1788 | manual |  | 1 |  | 3
176 | 2025-04-09 | preT09Apr25 | preT09Apr251s | 1 | 1 | 1 | 2431.1788 | manual |  | 1 |  | 3
177 | 2025-04-09 | PCT50403F6 | PCT50403F62s | 1 | 2 | 0.23333 | 2431.1788 | manual |  | 18.61 | DOC is not accurate | 0.7
178 | 2025-04-09 | PCT50403I5 | PCT50403I52s | 1 | 2 | 0.33333 | 2431.1788 | manual |  | 19.15 |  | 1
179 | 2025-04-09 | PFW50403C6 | PFW50403C62s | 1 | 2 | 0.66667 | 2431.1788 | manual |  | 9.244 |  | 2
180 | 2025-04-09 | PFW50403D5 | PFW50403D52s | 1 | 2 | 0.33333 | 2431.1788 | manual |  | 19.89 |  | 1
181 | 2025-04-09 | PFW50403F4 | PFW50403F42s | 1 | 2 | 0.33333 | 2431.1788 | manual |  | 20.02 |  | 1
182 | 2025-04-09 | PSW50403B4 | PSW50403B44s | 1 | 4 | 0.033333 | 2431.1788 | manual |  | 85 |  | 0.1
183 | 2025-04-09 | PSW50403C3 | PSW50403C34s | 1 | 4 | 0.066667 | 2431.1788 | manual |  | 67.3 |  | 0.2
184 | 2025-04-09 | PSW50403E3 | PSW50403E34s | 1 | 4 | 0.1 | 2431.1788 | manual |  | 46.02 |  | 0.3
185 | 2025-04-09 | PSW50406C6 | PSW50406C64s | 1 | 4 | 0.066667 | 2431.1788 | manual |  | 60.4 | DOC is not accurate | 0.2
186 | 2025-04-09 | pstT09Apr25 | pstT09Apr251s | 1 | 1 | 1 | 2431.1788 | manual |  | 1 |  | 3
187 | 2025-05-13 | preT13May25 | preT13May251s | 1 | 1 | 1 | 2506.2148 | manual |  | 1 |  | 3
188 | 2025-05-13 | PCT50509H3 | PCT50509H32s | 1 | 2 | 0.33333 | 2506.2148 | manual |  | 25.46 |  | 1
189 | 2025-05-13 | PCT50509H6 | PCT50509H62s | 1 | 2 | 0.23333 | 2506.2148 | manual |  | 29.91 |  | 0.7
190 | 2025-05-13 | PCT50509I5 | PCT50509I52s | 1 | 2 | 0.33333 | 2506.2148 | manual |  | 21.48 |  | 1
191 | 2025-05-13 | PFW50509C6 | PFW50509C62s | 1 | 2 | 0.33333 | 2506.2148 | manual |  | 10.3 |  | 1
192 | 2025-05-13 | PFW50509D5 | PFW50509D52s | 1 | 2 | 0.33333 | 2506.2148 | manual |  | 18.45 |  | 1
193 | 2025-05-13 | PFW50509H6 | PFW50509H62s | 1 | 2 | 0.33333 | 2506.2148 | manual |  | 18.34 |  | 1
194 | 2025-05-13 | PFW50509I5 | PFW50509I52s | 1 | 2 | 0.33333 | 2506.2148 | manual |  | 19.3 |  | 1
195 | 2025-05-13 | PSW50509D5 | PSW50509D52s | 1 | 2 | 0.1 | 2506.2148 | manual |  | 42.4 |  | 0.3
196 | 2025-05-13 | pstT13May25 | pstT13May251s | 1 | 1 | 1 | 2506.2148 | manual |  | 1 |  | 3
197 | 2025-06-04 | preT04Jun25 | preT04Jun251s | 1 | 1 | 1 | 2557.9434 | manual |  | 1 |  | 3
198 | 2025-06-04 | PCT50602B4 | PCT50602B42s | 1 | 2 | 0.33333 | 2557.9434 | manual |  | 15.96 |  | 1
199 | 2025-06-04 | PCT50602C3 | PCT50602C32s | 1 | 2 | 0.33333 | 2557.9434 | manual |  | 19.63 |  | 1
200 | 2025-06-04 | PCT50602C6 | PCT50602C62s | 1 | 2 | 0.33333 | 2557.9434 | manual |  | 15.06 |  | 1
201 | 2025-06-04 | PCT50602F4 | PCT50602F42s | 1 | 2 | 0.33333 | 2557.9434 | manual |  | 14.63 |  | 1
202 | 2025-06-04 | PCT50602F6 | PCT50602F62s | 1 | 2 | 0.33333 | 2557.9434 | manual |  | 22.46 |  | 1
203 | 2025-06-04 | PCT50602H3 | PCT50602H32s | 1 | 2 | 0.33333 | 2557.9434 | manual |  | 21.5 |  | 1
204 | 2025-06-04 | PCT50602H6 | PCT50602H62s | 1 | 2 | 0.3 | 2557.9434 | manual |  | 20.72 |  | 0.9
205 | 2025-06-04 | PCT50602I5 | PCT50602I52s | 1 | 2 | 0.33333 | 2557.9434 | manual |  | 15.11 |  | 1
206 | 2025-06-04 | PFW50602B4 | PFW50602B42s | 1 | 2 | 0.66667 | 2557.9434 | manual |  | 10.42 |  | 2
207 | 2025-06-04 | PFW50602C3 | PFW50602C32s | 1 | 2 | 0.66667 | 2557.9434 | manual |  | 10.72 |  | 2
208 | 2025-06-04 | PFW50602C6 | PFW50602C62s | 1 | 2 | 0.66667 | 2557.9434 | manual |  | 9.584 |  | 2
209 | 2025-06-04 | PFW50602D5 | PFW50602D52s | 1 | 2 | 0.5 | 2557.9434 | manual |  | 14.33 |  | 1.5
210 | 2025-06-04 | PFW50602E3 | PFW50602E32s | 1 | 2 | 0.66667 | 2557.9434 | manual |  | 9.522 |  | 2
211 | 2025-06-04 | PFW50602F4 | PFW50602F42s | 1 | 2 | 0.5 | 2557.9434 | manual |  | 15.63 |  | 1.5
212 | 2025-06-04 | PFW50602F6 | PFW50602F62s | 1 | 2 | 0.5 | 2557.9434 | manual |  | 12.67 |  | 1.5
213 | 2025-06-04 | PFW50602H3 | PFW50602H32s | 1 | 2 | 0.66667 | 2557.9434 | manual |  | 11.21 |  | 2
214 | 2025-06-04 | PFW50602H6 | PFW50602H62s | 1 | 2 | 0.5 | 2557.9434 | manual |  | 12.28 |  | 1.5
215 | 2025-06-04 | PFW50602I5 | PFW50602I52s | 1 | 2 | 0.5 | 2557.9434 | manual |  | 12.27 |  | 1.5
216 | 2025-06-04 | PSW50602B4 | PSW50602B42s | 1 | 2 | 0.066667 | 2557.9434 | manual |  | 47.02 |  | 0.2
217 | 2025-06-04 | PSW50602C3 | PSW50602C32s | 1 | 2 | 0.066667 | 2557.9434 | manual |  | 65.21 |  | 0.2
218 | 2025-06-04 | PSW50602C6 | PSW50602C62s | 1 | 2 | 0.066667 | 2557.9434 | manual |  | 54.19 |  | 0.2
219 | 2025-06-04 | PSW50602D5 | PSW50602D52s | 1 | 2 | 0.13333 | 2557.9434 | manual |  | 33.01 |  | 0.4
220 | 2025-06-04 | PSW50602E3 | PSW50602E32s | 1 | 2 | 0.13333 | 2557.9434 | manual |  | 33.58 |  | 0.4
221 | 2025-06-04 | PSW50602F4 | PSW50602F42s | 1 | 2 | 0.1 | 2557.9434 | manual |  | 41.28 |  | 0.3
222 | 2025-06-04 | PSW50602F6 | PSW50602F62s | 1 | 2 | 0.1 | 2557.9434 | manual |  | 46.15 |  | 0.3
223 | 2025-06-04 | PSW50602H3 | PSW50602H32s | 1 | 2 | 0.1 | 2557.9434 | manual |  | 27.82 |  | 0.3
224 | 2025-06-04 | PSW50602H6 | PSW50602H62s | 1 | 2 | 0.13333 | 2557.9434 | manual |  | 34.14 |  | 0.4
225 | 2025-06-04 | pstT04Jun25 | pstT04Jun251s | 1 | 1 | 1 | 2557.9434 | manual |  | 1 |  | 3

## descriptions
Column Header | Description | Notes
index | Simply the numeric order of entry (e.g. 1, 2, 3, 4, etc…)
analysis_date | Data samples were ran on instrument (not collected in the field)
description | A brief description of the sample collected – 60-character max. | This description will be displayed on the top of final EEM figures
data_identifier | The file name from the aqualog
replicate_no | Numeric | Analytical Replicates must have identical Sample IDs
integration_time | Integration time of sample (e.g. 1, 2, etc…)
dilution | Include dilution factor here as decimal format (e.g. a 2-fold dilution with 1 part sample and 1 part water will have a dilution factor of 0.5). | If there's no dillution put a 1
RSU_area_1s | The RSU Adjust Area from the Raman Test | Use the one from the RSU test with the flowcell unless you're running manually, and then use the one with type 1 water in the cuvette.
run_type | Either "sampleQ" or "manual" depending on how the sample was run
collect_date | The date the sample was collected (optional)
DOC_mg_L | DOC concentration in mg/L of the original sample (not the diluted sample). | Samples with absorbance at 254 nm greater than 0.3 must be diluted.